## Small potable water
Licensees required to report are: |  | Aqua Ferre (Muchea) Pty Ltd
BHP Iron Ore Pty Ltd
BHP Nickel West Pty Ltd
Country Heights Water Pty Ltd
Hamersley Iron Pty Ltd
Harvey Water (SWIMCO)
Lancelin South Pty Ltd
Moore River Water Services Pty Ltd
Peel Water Pty Ltd
Robe River Mining Co
Rottnest Island Authority
Water Resources
Indicator | Reference | Description | Number | % | Comments
SPW 1 | W1 | Volume of water sourced from surface water (ML) | 0
SPW 2 | W2 | Volume of water sourced from groundwater (ML) | 3.793 |  | The increase is due to groundwater being abstracted from the Wadjemup Borefiled to supplement the desalination potable supply. From October to December 2023 two Rerverse Osmosis trains failed at the plant and it was not able to produce enought water to meet demand.
SPW 3 | W3.1 | Volume of water sourced from desalination marine waters (ML) | 349 |  | The increase is due to improved freshwater water recovery from the RO trains at the desal plant to between 60-70%. The volume of sea water abstracted during the reporting period was 500 ML which is actually a decrease from the volume abstracted in the 2022-23 period of 533 ML.
SPW 4 | W4 | Not Used
SPW 5 | W5 | Total volume of water received from other service providers or operational areas within the urban water system (ML) |  |  | 0.0
SPW 5A | W5.3 | Volume of water, excluding recycled water, received from other service providers or operational areas within the urban water supply system (ML) | 0
SPW 6 | W6 | Volume of recycled water received from other service providers or operational areas within the urban water supply system (ML) | 0
SPW 7 | W7 | Total volume of water sourced (ML) | 352.793
SPW 7A | W8 | Total volume of water supplied to residential customers (ML) | 352.8
SPW 8 | W11 | Total volume urban water supplied (ML) | 352.8 |  | This figure represents the potable water supplied to the RIA network plus the water sourced from ground.
SPW 8A | W11.3 | Volume of potable water produced for supply into the urban water supply system (ML) | 352.8
SPW 9 | W12 | Average volume of residential water supplied per property (kL/property) | 2713.8462
SPW 10 | Licence Sch 2 Cl 1.3 | Details of any restrictions applied in accordance with the Water Services Regulations 2013 to a potable water supply, detailing restrictions by scheme, type (severity), duration, start date and number of services affected
Asset Data
Indicator | Reference | Description | Number | % | Comments
SPW 11 | A1 | Number of water treatment plants providing full treatment (plants) as of June 30 | 3 |  | 1 Desalination Plant (3 trains), 2 Chlorination Stations (Tank 4 and Tank 5).
SPW 12 | A2 | Length of water mains (km) as of June 30 | 22
SPW 13 | A3 | Properties served per km of water main (properties/km) as of June 30 | 5.9091
SPW 14 | IA8 | Number of water main breaks, bursts and leaks (mains breaks) | 4
SPW 14 | A8 | Number of water main breaks, bursts and leaks per 100km of water main (mains breaks/100 km) | 18.1818
The Customers
Indicator | Reference | Description | Number | % | Comments
SPW 14A | C2 | Total number of connected residential properties: water supply as of June 30 | 130
SPW 15 | C4 | Total number of connected properties: water supply as of June 30 | 130
SPW 16 | C15 | Average duration of an uplanned interruption: water supply (minutes) | 0
SPW 17 | IC17 | Number of unplanned interruptions: water supply | 0
SPW 17 | C17 | Number of unplanned interruptions per 1,000 properties | 0
SPW 18 | Licence Sch 2 Cl 1.1 | Number of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | 130
SPW 18 | Licence Sch 2 Cl 1.1 | Percentage of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) |  | FALSE | 100%
Complaints
Indicator | Reference | Description | Number | % | Comments
SPW 19 | Code of Conduct clause 46(3) | Total number of customer complaints received | 0
SPW 19A | Code of Conduct clause 46(3) | Number of complaints resolved within 15 business days | NA
SPW 19B | Code of Conduct clause 46(3) | Percentage of customer complaints resolved within 15 business days
Health
Indicator | Reference | Description | Number | % | Comments
SPW 20A | H3 | Percentage of population where microbiological compliance was achieved |  | 100

## Small sewerage
Licensees required to report are: |  | Aquasol Pty Ltd
BHP Nickel West Pty Ltd
Hamersley Iron Pty Ltd
Lancelin South Pty Ltd
Moore River Water Services Pty Ltd
Peel Water Pty Ltd
Robe River Mining Co
Rottnest Island Authority
Shire of Gnowangerup
TMC Witchcliffe Pty Ltd
WA Sewage Pty Ltd
Water West North Dandalup Pty Ltd
Water Resources
Indicator | Reference | Description | Number | % | Comments
SS 1 | W18 | Total volume wastewater collected (ML) | 90
SS 2 | W19 | Average volume of wastewater collected per property (kL/property) | 692.3077
SS 3 | W26 | Total recycled water supplied (ML) | 66 |  | The increase from last reporting period is due to a greater requirement for irrigation due to a dry summer.
SS 4 | W27 | Recycled water as a percentage of total wastewater collected (%) |  | 73.33% | The remaining volume of collected wastewater is made up of the following: 19% (17 ML) of recycled water output went to the WWTP infiltration basin when the recycled water storage tank (RWST) had reached capacity throughout the year, compared to 26% last period. 7% (6 ML) of recycled water was re-used at the WWTP for operational purposes, compared to 16% last period.
Asset Data
Indicator | Reference | Description | Number | % | Comments
SS 5 | A5 | Length of sewer mains and channels (km) as of June 30 | 5.9
SS 6 | A6 | Number of properties served per km of sewer main (properties/km) as of June 30 | 22.0339
SS 7 | A14 | Number of sewer mains breaks and chokes per 100km (breaks and chokes/100km) | 1 |  | 1 occurrence - Blocked manhole at the North Thomson Sewer Pump Station.
SS 7 | A15 | Number of property connection sewer breaks and chokes per 1,000 properties (breaks and chokes/1,000 properties) | 1 |  | As above
The Customers
Indicator | Reference | Description | Number | % | Comments
SS 8 | C8 | Total number of connected properties: wastewater as of June 30 | 130
Complaints
Indicator | Reference | Description | Number | %
SS 9 | Code of Conduct clause 46(3) | Total number of customer complaints received | 0
SS 9A | Code of Conduct clause 46(3) | Number of complaints resolved within 15 business days | 0
SS 9B | Code of Conduct clause 46(3) | Percentage of customer complaints resolved within 15 business days
Environment
Indicator | Reference | Description | Number | % | Comments
SS10 | E1 | Percentage of wastewater only treated to a primary level (%) |  | 1 | Estimate only. No chemical treatment used, only bioselectors.
SS11 | E2 | Percentage of wastewater only treated to a secondary level (%) |  | 99 | Membrane Bioreactor System (MBR)
SS12 | E3 | Percentage of wastewater treated to a tertiary level (%) |  | 0
SS 13 | E8 | Percentage of biosolids reused (%) |  | 0 | Unknown as biosolids are shipped off the island.