## Read This First
2022 Water Performance Reporting Datasheet - Water indicators
IMPORTANT NOTICE FOR WATER LICENSEES
Licensees should refer to the Water, Sewerage and Irrigation Licence Performance Reporting Handbook for information on the definitions of indicators listed in these Datasheets. The Handbook is available on the ERA website (see link below):
https://www.erawa.com.au/water/water-licensing/regulatory-guidelines
As per section 3 of the Handbook, licensees should complete the ‘number’ column in each worksheet as follows: If the data is available: Enter the data If the activity did not occur: Enter '0' For example, if the licensee supplies non-potable water services but did not supply any recycled water, the data for indicator SS3 should be ‘0’. If the activity is not applicable: Enter 'n/a' For example, if the licensee does not supply non-potable water services, indicator SS3 should be marked ‘n/a’. If the data is unavailable: Leave the data cell blank. Add a comment in the ‘comments’ cell explaining why the data cannot be provided. If the data shows a change of more than 10% compared to last year’s data, the retailer should include the likely reason(s) for the change in the ‘comments’ column.
Some indicators (shaded blue) require a value as at 30 June. Some indicators (shaded green) require a cumulative total value for the whole of the reporting year.
Indicators require reporting to be on on a per property basis or on a per incident basis. For example, indicator SPW 18 (Number of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence) should be reported on a per property basis. Indicator IC 17 (Number of unplanned interruptions: water supply) should be reported on a per incident basis. This means that if a customer’s water supply is interrupted more than once during the reporting year, then each interruption should be recorded separately.

## Small potable water
Note: Indicators that require a value as at 30 June are shaded green. Indicators that require a cumulative total value for the whole of the reporting year are shaded blue. Do not enter data into cells that are shaded yellow, these indicators are automatically calculated. Do not enter data into cells that are shaded grey, they do not apply to that indicator.
Licensees required to report are: |  | Aqua Ferre (Muchea) Pty Ltd
BHP Iron Ore Pty Ltd
BHP Nickel West Pty Ltd
Country Heights Water Pty Ltd
Hamersley Iron Pty Ltd
Harvey Water (SWIMCO)
Lancelin South Pty Ltd
Moore River Water Services Pty Ltd
Peel Water Pty Ltd
Robe River Mining Co
Rottnest Island Authority
Water Resources
Indicator | Reference | Description | Number | % | Comments
SPW 1 | W1 | Volume of water sourced from surface water (ML) | 0
SPW 2 | W2 | Volume of water sourced from groundwater (ML) | 0.416 |  | Wadjemup Borefield is not used for water supply for any purpose other than for monitoring purposes, for licence compliance. The volume of groundwater used is related to the amount of water used for sampling purpose. The water is not used for any other purpose. The increase in volume this reporting period is due to the borefield being energised and bore pumps running for a longer period of time.
SPW 3 | W3.1 | Volume of water sourced from desalination marine waters (ML) | 202.6 |  | The desalination trains produced potable water at approximately 37-39% recovery rate. From review of the Urban Water guidelines, RIA believe the produced water value should be reported here. 2022/2023 - total abstraction from Longreach was 533,238 kL. The volume of water abstracted has increased by 19%, a reflection of an increased visitation rate (almost double compared to last reporting period).
SPW 4 | W4 | Not Used
SPW 5 | W5 | Total volume of water received from other service providers or operational areas within the urban water system (ML) | 0
SPW 5A | W5.3 | Volume of water, excluding recycled water, received from other service providers or operational areas within the urban water supply system (ML) | 0
SPW 6 | W6 | Volume of recycled water received from other service providers or operational areas within the urban water supply system (ML) | 0
SPW 7 | W7 | Total volume of water sourced (ML) | 203.016
SPW 7A | W8 | Total volume of water supplied to residential customers (ML) | 202.6 |  | Wadjemup Borefield has been removed from the potable distribution system and is not supplied to customers.
SPW 8 | W11 | Total volume urban water supplied (ML) | 202.6 |  | This figure represents the potable water supplied to the RIA network. Tank 5 output is measured with a calibrated meter. Note the water drawn from the Wadjemup Borefield is not input into the potable water distribution system.
SPW 8A | W11.3 | Volume of potable water produced for supply into the urban water supply system (ML) | 202.6 |  | This figure represents the total volume of potable water produced by the desalination plant.
SPW 9 | W12 | Average volume of residential water supplied per property (kL/property) | 1558.4615
SPW 10 | Licence Sch 2 Cl 1.3 | Details of any restrictions applied in accordance with the Water Services Regulations 2013 to a potable water supply, detailing restrictions by scheme, type (severity), duration, start date and number of services affected
Asset Data
Indicator | Reference | Description | Number | % | Comments
SPW 11 | A1 | Number of water treatment plants providing full treatment (plants) | 3 |  | 1 Desalination Plant (3 trains), 2 Chlorination Stations (Tank 4 and Tank 5).
SPW 12 | A2 | Length of water mains (km) | 22
SPW 13 | A3 | Properties served per km of water main (properties/km) | 5.9091
SPW 14 | IA8 | Number of water main breaks, bursts and leaks (mains breaks) | 7 |  | This number only represents main breaks, not leaks or breaks on service lines. The increase reported from the 2022-23 period is due to the continual aging of infrastructure and increasing water use from higher Island visitation.
| A8 | Number of water main breaks, bursts and leaks per 100km of water main (mains breaks/100 km) | 31.8182
The Customers
Indicator | Reference | Description | Number | % | Comments
SPW 14A | C2 | Total number of connected residential properties: water supply | 130
SPW 15 | C4 | Total number of connected properties: water supply | 130
SPW 16 | C15 | Average duration of an unplanned interruption: water supply (minutes) | n/a
SPW 17 | IC17 | Number of unplanned interruptions: water supply | 0 |  | There has been no unplanned outage this reporting period. This may be due to improved maintenance and infrastructure upgrades.
| C17 | Number of unplanned interruptions per 1,000 properties | 0
SPW 18 | Licence Sch 2 Cl 1.1 | Number of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) | 130
|  | Percentage of connected properties that have been supplied at a pressure and flow that meets the standards set out in the licence (12 month data) |  | 100%
Complaints
Indicator | Reference | Description | Number | % | Comments
SPW 19 | Code of Conduct clause 46(3) | Total number of customer complaints received | 0
SPW 19A |  | Number of complaints resolved within 15 business days | 0
SPW 19B |  | Percentage of customer complaints resolved within 15 business days
Health
Indicator | Reference | Description | Number | % | Comments
SPW 20A | H3 | Percentage of population where microbiological compliance was achieved |  | 100

## Small sewerage
Note: Indicators that require a value as at 30 June are shaded green. Indicators that require a cumulative total value for the whole of the reporting year are shaded blue. Do not enter data into cells that are shaded yellow, these indicators are automatically calculated. Do not enter data into cells that are shaded grey, they do not apply to that indicator.
Licensees required to report are: |  | Aquasol Pty Ltd
BHP Nickel West Pty Ltd
Hamersley Iron Pty Ltd
Lancelin South Pty Ltd
Moore River Water Services Pty Ltd
Peel Water Pty Ltd
Robe River Mining Co
Rottnest Island Authority
Shire of Gnowangerup
TMC Witchcliffe Pty Ltd
WA Sewage Pty Ltd
Water West North Dandalup Pty Ltd
Water Resources
Indicator | Reference | Description | Number | % | Comments
SS 1 | W18 | Total volume wastewater collected (ML) | 87 |  | Total wastewater collected was 87,313 kL.
SS 2 | W19 | Average volume of wastewater collected per property (kL/property) | 669.2308
SS 3 | W26 | Total recycled water supplied (ML) | 50 |  | The total volume of recycled water supplied for irrigation was 50,325 kL.
SS 4 | W27 | Recycled water as a percentage of total wastewater collected (%) |  | 57.47% | The remaining volume of collected wastewater is made up of the following: 26% (22,799 kL) of recycled water output went to the WWTP infiltration basin when the recycled water storage tank (RWST) had reached capacity throughout the year, compared to 33% last period. 16% (14,189kL) of recycled water was re-used at the WWTP for operational purposes, compared to 13% last period.
Asset Data
Indicator | Reference | Description | Number | % | Comments
SS 5 | A5 | Length of sewer mains and channels (km) | 6
SS 6 | A6 | Number of properties served per km of sewer main (properties/km) | 21.6667
SS 7 | A14 | Number of sewer mains breaks and chokes per 100km (breaks and chokes/100km) | 0
| A15 | Number of property connection sewer breaks and chokes per 1,000 properties (breaks and chokes/1,000 properties) | n/a
The Customers
Indicator | Reference | Description | Number | % | Comments
SS 8 | C8 | Total number of connected properties: wastewater | 130
Complaints
Indicator | Reference | Description | Number | %
SS 9 | Code of Conduct clause 46(3) | Total number of customer complaints received | 0
SS 9A |  | Number of complaints resolved within 15 business days | 0
SS 9B |  | Percentage of customer complaints resolved within 15 business days
Environment
Indicator | Reference | Description | Number | % | Comments
SS10 | E1 | Percentage of wastewater only treated to a primary level (%) |  | 1 | Estimate only. No chemical treatment used, only bioselectors.
SS11 | E2 | Percentage of wastewater only treated to a secondary level (%) |  | 99 | Membrane Bioreactor System (MBR)
SS12 | E3 | Percentage of wastewater treated to a tertiary level (%) |  | 0
SS 13 | E8 | Percentage of biosolids reused (%) |  | 0 | Unknown as biosolids are shipped off the island.